Mt. Morgan SITE PROCEDURE

Laboratory Wet Chemistry and Digestion

Standard Work Procedure  ·  Heritage Minerals  ·  Mt. Morgan Processing Plant

| Document number | HM-PRC-VXX-PRO213 |
| --- | --- |
| Title | Laboratory Wet Chemistry and Digestion |
| Scope | Laboratory wet chemistry and digestion - assay weighing, sample patterns, ashing, aqua regia and three-acid digestion of solids, carbon, resin and bullion, solution preparation including DIBK extraction, reagent and standard preparation, chemical handling, fume cupboard and scrubber operation, glassware, spill and power failure response, and waste. |
| Register area | 302 Wet Lab, on tabs JSEA_LAB and SWI-LAB |
| Hazard analyses beneath | 33 (JSEA-PRO-LAB-302-001 to -033) |
| Work instructions beneath | 33 |
| Process owner | Heritage Mineral Operations · Business unit Mt. Morgan |
| Document owner | Process Operations Superintendent |
| Document approver | Process Manager |
| Revision | Rev A |
| Date | 11 August 2026 |
| Prepared by | GGT (cost code 4034-033) |
| Reviewed by | ________________________ |
| Approved by | ________________________ |

# 1  PURPOSE / SCOPE

This procedure covers laboratory wet chemistry and digestion at the Mt. Morgan processing plant. It is the procedure that the 33 hazard analyses and 33 work instructions in register area 302 sit under.

Laboratory wet chemistry and digestion - assay weighing, sample patterns, ashing, aqua regia and three-acid digestion of solids, carbon, resin and bullion, solution preparation including DIBK extraction, reagent and standard preparation, chemical handling, fume cupboard and scrubber operation, glassware, spill and power failure response, and waste.

# 2  RESPONSIBILITIES

| Role | Responsibilities |
| --- | --- |
| Laboratory Technician | Carry out the task to the schedule and to the work instruction. Only carry out work where competent and authorised to do so. Record what was actually done. Work not done is recorded as not done - never invented and never back-filled. Stop and report if any control in the JSEA is not in place. |
| Laboratory Supervisor | Authorise the task and confirm the area is fit before it starts. Know that the task is in progress and where the person is. Understand that much of the plant is automated and equipment may start or stop without warning. Act on any off-specification result reported from the task. |
| Chief Chemist / Metallurgist | Set and maintain the schedule - what is done, how often, and what is reported. Review the results and act on the trends. Investigate any variance outside the agreed tolerance before a period is closed. |
| Laboratory Manager / Superintendent | Ensure all personnel are trained and competent. Ensure this procedure and the documents beneath it are reviewed at the stated interval. Approve the risk ranking in the JSEAs. |

# 3  ABBREVIATIONS / DEFINITIONS

| Term | Meaning |
| --- | --- |
| JSEA | Job safety and environmental analysis - one per task, giving the step-by-step hazards, controls and risk ranking. |
| SWI | Standard work instruction - one per task, giving the step-by-step method. |
| SWP | Standard work procedure - this document. |
| Steady state | Normal operation held for at least 15 to 20 minutes. |
| ReCYN | The resin-in-pulp cyanide and metal recovery process in Areas 041, 051, 071 and 081. |
| CN Free / WAD CN | Free cyanide by silver nitrate titration; weak acid dissociable cyanide by distillation. |

# 4  POTENTIAL HAZARDS

The step-by-step hazard analysis for each task, with the risk ranking, is in the JSEA for that task. The hazards common across this area are:

- Cross-contamination from a container or cutter not cleaned between points

- Inhalation of or contact with solid reagent - cyanide briquettes, lime or salt

- Non-representative sample leading to a wrong process decision

- Cuts from broken glassware, and burns from hot glassware

- Exposure to a gold security incident, and to suspicion in one

- Contact with hot solution or hot surface at the elution, stripping or regeneration circuits

- Inhalation of acid fume or reagent vapour at the bench

- Contact with sulphuric or hydrochloric acid - burn to skin or eyes

- Splash of cyanide-bearing slurry or solution to skin or eyes

- Hydrogen cyanide gas released at the open sample point

- Release from a pressurised sample line, hose or fitting

- Contact with sodium hydroxide solution - burn to skin or eyes

- Manual handling injury from carrying sample buckets, containers and composite drums

- Contact with live electrical equipment at a sample pump, cutter or local control station

# 5  PPE

Standard PPE is worn for all normal operations: hard hat, safety glasses, high-visibility long-sleeved shirt and long trousers, safety boots, and gloves appropriate to the task.

The following is added where the task requires it:

- Personal HCN gas monitor, calibrated and in test date

- Chemical splash goggles and face shield

- Nitrile rubber gloves

- Nitrile PVC boots

- Chemical resistant suit

- Full or half gas mask with A2B2E2K2P3 cartridge, carried and available for immediate use

- Acid-resistant gloves, apron and face shield

- Chemical splash goggles

# 6  PROCEDURE

6.1  Introduction

Warning: many operations on the gold processing plant are automated and equipment may start or stop without warning. It is the operator's responsibility to ensure the safety of all personnel working on the plant at all times.

6.2  Procedure and implementation steps

The documents below are the controlled method for each task. This procedure does not repeat them.

| JSEA | Work instruction | Task | Class |
| --- | --- | --- | --- |
| JSEA-PRO-LAB-302-001 | SWI-PRO-LAB-302-001 | Sample Weighing for Assay | Operating |
| JSEA-PRO-LAB-302-002 | SWI-PRO-LAB-302-002 | Sample Pattern Set-Up - Plant Solid Samples | Operating |
| JSEA-PRO-LAB-302-003 | SWI-PRO-LAB-302-003 | Sample Pattern Set-Up - Carbon Samples | Operating |
| JSEA-PRO-LAB-302-004 | SWI-PRO-LAB-302-004 | Sample Pattern Set-Up - Resin Samples | Operating |
| JSEA-PRO-LAB-302-005 | SWI-PRO-LAB-302-005 | Sample Pattern Set-Up - Dore and Bullion Samples | Safety-critical |
| JSEA-PRO-LAB-302-006 | SWI-PRO-LAB-302-006 | Ashing of Carbon and Resin Samples - Muffle Furnace | Safety-critical |
| JSEA-PRO-LAB-302-007 | SWI-PRO-LAB-302-007 | Aqua Regia Digest - Plant Solid Samples | Safety-critical |
| JSEA-PRO-LAB-302-008 | SWI-PRO-LAB-302-008 | Aqua Regia Digest - Dore and Bullion Samples | Safety-critical |
| JSEA-PRO-LAB-302-009 | SWI-PRO-LAB-302-009 | Aqua Regia Digest - Ashed Carbon (Direct Method) | Safety-critical |
| JSEA-PRO-LAB-302-010 | SWI-PRO-LAB-302-010 | Aqua Regia Digest - Ashed Resin | Safety-critical |
| JSEA-PRO-LAB-302-011 | SWI-PRO-LAB-302-011 | Three-Acid Digest - Base Metals, Solid Samples | Safety-critical |
| JSEA-PRO-LAB-302-012 | SWI-PRO-LAB-302-012 | Three-Acid Digest - Carbon and Resin, Base Metals | Safety-critical |
| JSEA-PRO-LAB-302-013 | SWI-PRO-LAB-302-013 | Solution Sample Preparation for Gold Analysis - DIBK Extraction | Safety-critical |
| JSEA-PRO-LAB-302-014 | SWI-PRO-LAB-302-014 | Solution Sample Preparation for Base Metal Analysis | Safety-critical |
| JSEA-PRO-LAB-302-015 | SWI-PRO-LAB-302-015 | Plant Solution Sample Preparation and Dilution | Safety-critical |
| JSEA-PRO-LAB-302-016 | SWI-PRO-LAB-302-016 | Preparation of Aqua Regia and Mixed Acid Reagents | Safety-critical |
| JSEA-PRO-LAB-302-017 | SWI-PRO-LAB-302-017 | Preparation of DIBK 1% Aliquot Solution | Safety-critical |
| JSEA-PRO-LAB-302-018 | SWI-PRO-LAB-302-018 | Preparation of Sodium Chloride 25% Solution | Operating |
| JSEA-PRO-LAB-302-019 | SWI-PRO-LAB-302-019 | Preparation of Cyanide Matrix Solution | Safety-critical |
| JSEA-PRO-LAB-302-020 | SWI-PRO-LAB-302-020 | Preparation of Gold, Silver and Copper Standard Solutions | Safety-critical |
| JSEA-PRO-LAB-302-021 | SWI-PRO-LAB-302-021 | Chemical Issue, Decanting and Acid Transfer from IBC or Drum | Safety-critical |
| JSEA-PRO-LAB-302-022 | SWI-PRO-LAB-302-022 | Hot Block and Hot Plate Digest Operation | Safety-critical |
| JSEA-PRO-LAB-302-023 | SWI-PRO-LAB-302-023 | Fume Cupboard Operation, Scrubber pH Check and Cleaning - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-024 | SWI-PRO-LAB-302-024 | Water Distillation and Deionised Water Plant Operation | Safety-critical |
| JSEA-PRO-LAB-302-025 | SWI-PRO-LAB-302-025 | Glassware Washing and Drying - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-026 | SWI-PRO-LAB-302-026 | Analytical Balance and Dispenser Verification - Wet Lab | Operating |
| JSEA-PRO-LAB-302-027 | SWI-PRO-LAB-302-027 | Acid Spill Response and Neutralisation - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-028 | SWI-PRO-LAB-302-028 | Sudden Power Failure Evacuation - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-029 | SWI-PRO-LAB-302-029 | Laboratory Sludge Transfer to IBC and Disposal | Safety-critical |
| JSEA-PRO-LAB-302-030 | SWI-PRO-LAB-302-030 | Neutralisation of Empty Reagent Containers | Safety-critical |
| JSEA-PRO-LAB-302-031 | SWI-PRO-LAB-302-031 | Hydrofluoric Acid Handling, Storage and Calcium Gluconate First Aid | Safety-critical |
| JSEA-PRO-LAB-302-032 | SWI-PRO-LAB-302-032 | Perchloric Acid Digest and Fume Cupboard Washdown Routine | Safety-critical |
| JSEA-PRO-LAB-302-033 | SWI-PRO-LAB-302-033 | Fume Scrubber pH Control System Operation and Dosing | Safety-critical |

6.3  Schedule

| Task | Frequency |
| --- | --- |
| 302-001 Sample Weighing for Assay | Every sample in every batch. |
| 302-002 Sample Pattern Set-Up - Plant Solid Samples | Every solid sample batch. |
| 302-003 Sample Pattern Set-Up - Carbon Samples | Every carbon batch. |
| 302-004 Sample Pattern Set-Up - Resin Samples | Every resin batch. |
| 302-005 Sample Pattern Set-Up - Dore and Bullion Samples | Every bullion batch. |
| 302-006 Ashing of Carbon and Resin Samples - Muffle Furnace | Every carbon and resin batch. |
| 302-007 Aqua Regia Digest - Plant Solid Samples | Every plant solid batch. |
| 302-008 Aqua Regia Digest - Dore and Bullion Samples | Every bullion batch. |
| 302-009 Aqua Regia Digest - Ashed Carbon (Direct Method) | Every carbon batch. |
| 302-010 Aqua Regia Digest - Ashed Resin | Every resin batch. |
| 302-011 Three-Acid Digest - Base Metals, Solid Samples | Every base metal batch on solids. |
| 302-012 Three-Acid Digest - Carbon and Resin, Base Metals | Every base metal batch on carbon or resin. |
| 302-013 Solution Sample Preparation for Gold Analysis - DIBK Extraction | Every gold solution batch. |
| 302-014 Solution Sample Preparation for Base Metal Analysis | Every base metal solution batch. |
| 302-015 Plant Solution Sample Preparation and Dilution | Every plant solution batch. |
| 302-016 Preparation of Aqua Regia and Mixed Acid Reagents | As the solution register requires. |
| 302-017 Preparation of DIBK 1% Aliquot Solution | As the solution register requires. |
| 302-018 Preparation of Sodium Chloride 25% Solution | As the solution register requires. |
| 302-019 Preparation of Cyanide Matrix Solution | To be set once the method is received. |
| 302-020 Preparation of Gold, Silver and Copper Standard Solutions | As the solution register requires. |
| 302-021 Chemical Issue, Decanting and Acid Transfer from IBC or Drum | Every issue and every decant. |
| 302-022 Hot Block and Hot Plate Digest Operation | Every digest run. |
| 302-023 Fume Cupboard Operation, Scrubber pH Check and Cleaning - Wet Lab | Every use; scrubber checked at the start of every shift. |
| 302-024 Water Distillation and Deionised Water Plant Operation | Daily check; service at the manufacturer's interval. |
| 302-025 Glassware Washing and Drying - Wet Lab | After every use. |
| 302-026 Analytical Balance and Dispenser Verification - Wet Lab | Daily verification before use; external calibration at the set interval. |
| 302-027 Acid Spill Response and Neutralisation - Wet Lab | Every acid spill; drill at the set interval. |
| 302-028 Sudden Power Failure Evacuation - Wet Lab | On any power failure; drill at the set interval. |
| 302-029 Laboratory Sludge Transfer to IBC and Disposal | At the set interval and whenever the sump reaches its trigger level. |
| 302-030 Neutralisation of Empty Reagent Containers | Every empty container. |
| 302-031 Hydrofluoric Acid Handling, Storage and Calcium Gluconate First Aid | Every HF handling task; training and drill at the set interval. |
| 302-032 Perchloric Acid Digest and Fume Cupboard Washdown Routine | Every perchloric digest. |
| 302-033 Fume Scrubber pH Control System Operation and Dosing | Checked every shift; serviced at the set interval. |

# 7  FLOWCHART

Not reproduced here. Each work instruction carries its own step sequence in Section 6.

# 8  TRAINING

Every person carrying out a task in this area is trained and signed off against the work instruction for that task, and has signed on to the matching JSEA at a communication session.

- Site induction, current.

- Cyanide awareness and gas detection competency where the area requires it.

- Working at height competency where the task requires it.

- Competency in the determinations, instruments and calculations used in the task.

- Refresher at the interval set by the site training matrix, and after any change to the instruction.

# 9  REFERENCE

- KBK-MIR-LAB-WET-SOP-017 Penimbangan Sampel

- Heritage register line JSEA-PRO-LAB-302-001, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-018 and -020 grade control sample patterns

- Heritage register line JSEA-PRO-LAB-302-002, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-022 Pengaturan Pola Sampel Karbon

- Heritage register line JSEA-PRO-LAB-302-003, tab JSEA_LAB / SWI-LAB

- KBK has a carbon pattern only - resin pattern set-up is specific to ReCYN

- Heritage register line JSEA-PRO-LAB-302-004, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-023 Pengaturan Pola Sampel Dore Aquaregia

- Heritage register line JSEA-PRO-LAB-302-005, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-024 Pengabuan Sampel Karbon dan Resin

- Heritage register line JSEA-PRO-LAB-302-006, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-032 Digest aquaregia sampel solid mill plant

- Heritage register line JSEA-PRO-LAB-302-007, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-033 Digest aquaregia untuk sampel dore

- Heritage register line JSEA-PRO-LAB-302-008, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-038 Digest karbon diabukan (direct)

- Heritage register line JSEA-PRO-LAB-302-009, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-040 Digest Au resin yang telah diabukan

- Heritage register line JSEA-PRO-LAB-302-010, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-035 and ENV-SOP-103 three-acid digest, solids

- Heritage register line JSEA-PRO-LAB-302-011, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-041 carbon and WET-SOP-042 resin, base metals

- Heritage register line JSEA-PRO-LAB-302-012, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-036 Penyiapan sampel larutan untuk analisis Au

- Heritage register line JSEA-PRO-LAB-302-013, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-037 Penyiapan sampel larutan untuk basemetal

- Heritage register line JSEA-PRO-LAB-302-014, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-052 Penyiapan Sampel Solution

- Heritage register line JSEA-PRO-LAB-302-015, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-026 Larutan BARE and WET-SOP-027 mixture acids

- Heritage register line JSEA-PRO-LAB-302-016, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-028 Larutan DIBK 1% aliquot

- Heritage register line JSEA-PRO-LAB-302-017, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-029 Larutan sodium klorida 25%

- Heritage register line JSEA-PRO-LAB-302-018, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-046 is listed in the KBK register but the file was not received

- Heritage register line JSEA-PRO-LAB-302-019, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-043, -044 and -045 Au, Ag and Cu standards

- Heritage register line JSEA-PRO-LAB-302-020, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-025, -047, -055 and -107 chemical and acid transfer

- Heritage register line JSEA-PRO-LAB-302-021, tab JSEA_LAB / SWI-LAB

- ILS quote Q0023979: 2 x cast iron hotplates 590 x 315 mm

- Heritage register line JSEA-PRO-LAB-302-022, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-054 scrubber pH, -059 fume cupboard, ENV-SOP-061

- Heritage register line JSEA-PRO-LAB-302-023, tab JSEA_LAB / SWI-LAB

- ILS quote Q0023979: RO/DI Ibis Plus 12 L/h. This is reverse osmosis and deionisation, not distillation - KBK ENV-SOP-056 will need rewriting, not adapting

- Heritage register line JSEA-PRO-LAB-302-024, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-049 drying and ENV-SOP-060 washing

- Heritage register line JSEA-PRO-LAB-302-025, tab JSEA_LAB / SWI-LAB

- KBK WET-SOP-013 to -016; ILS quote Q0023979: GR-200 210 g x 0.1 mg, GX-2002A and a Class F1 18-piece weight set

- Heritage register line JSEA-PRO-LAB-302-026, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-051 Penanganan Tumpahan Asam

- Heritage register line JSEA-PRO-LAB-302-027, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-WET-SOP-050 Evakuasi pemadaman listrik

- Heritage register line JSEA-PRO-LAB-302-028, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-ENV-SOP-058 Pemindahan lumpur ke IBC tank

- Heritage register line JSEA-PRO-LAB-302-029, tab JSEA_LAB / SWI-LAB

- KBK-MIR-LAB-ENV-SOP-106 Netralisasi wadah bekas reagen

- Heritage register line JSEA-PRO-LAB-302-030, tab JSEA_LAB / SWI-LAB

- ILS quote Q0023979 specifies the fume cupboard for perchloric and HF use, but no calcium gluconate gel appears in the safety line items. Safety gap

- Heritage register line JSEA-PRO-LAB-302-031, tab JSEA_LAB / SWI-LAB

- Perchloric washdown is mandatory to prevent explosive perchlorate build-up in ductwork. No procedure held and no washdown provision itemised in ILS quote Q0023979

- Heritage register line JSEA-PRO-LAB-302-032, tab JSEA_LAB / SWI-LAB

- ILS quote Q0023979: Model A crossflow scrubber, exhaust fan and pH control system; KBK WET-SOP-054 pH scrubber check

- Heritage register line JSEA-PRO-LAB-302-033, tab JSEA_LAB / SWI-LAB

# 10  REVIEW

This procedure and the documents beneath it are reviewed every 12 months, and immediately after any incident, plant change, equipment change or change to the schedule.

# 11  REGISTER TRACEABILITY

The three-digit suffix is shared between the two registers, so SWI-PRO-LAB-302-011 is the work instruction for JSEA-PRO-LAB-302-011.

Registers: HM-MMM-WHS-REG-JSEA-PRO-updated_10.xlsx tab JSEA_LAB, and HM-MMM-WHS-REG-XXX-R00-SWI-SWMS.xlsx tab SWI-LAB. GGT working masters are MM-4034-033-OR-03-JSEA-Register-RevF.xlsx and MM-4034-033-OR-03-SWI-Register-RevF.xlsx.

| Item | Count |
| --- | --- |
| Register lines in area 302 | 33 |
| Hazard analyses issued | 33 |
| Work instructions issued | 33 |
| Desk-based tasks with a JSEA but no work instruction | 0 |
| Safety-critical | 27 |
| Issued but NOT FOR USE | 1 |