Safe Work Procedure

Laboratory Environmental and Cyanide Analysis

HM-PRC-VXX-PRO215

| DOCUMENT HISTORY AND STATUS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Document: | Laboratory Environmental and Cyanide Analysis Safe Work Procedure |  |  | Version No.: | A |  |  |
| Document No: | HM-PRC-VXX-PRO215 |  |  | Owner: | Process Operations Superintendent |  |  |
| Issue Date: | 11/08/2026 |  |  | Date Reviewed: | - |  |  |
| History: | Process owner: Heritage Mineral Operations, Business unit Mt. Morgan. Document approver: Process Manager. |  |  |  |  |  |  |
| Date Reviewed: | Version No.: | Written by: |  | Reviewed by: |  | Authorised by: |  |
| 11/08/2026 | A | GGT (cost code 4034-033) |  |  |  |  |  |
| Revision Description: |  |  |  |  |  |  |  |
| Changes: |  |  |  |  |  |  |  |
| Rev A - first issue. Converted from the GGT Standard Work Procedure layout to the Heritage Safe Work Procedure format; content unchanged. |  |  |  |  |  |  |  |
| Action: | Name: |  | Position: |  |  |  | Date: |
| Prepared by | GGT (cost code 4034-033) |  | Document preparer |  |  |  | 11/08/2026 |
| Reviewed by |  |  | Process Operations Superintendent |  |  |  |  |
| Reviewed by |  |  |  |  |  |  |  |
| Authorised by |  |  | Process Manager |  |  |  |  |

This document is controlled electronically as part of Heritage Minerals Pty Limited’s Health & Safety Management System.  Please refer to Heritage Minerals Controlled Document Register for the current version.

Table of Contents

1.	Purpose and Scope	3

2.	Responsibilities	3

3.	Abbreviations and Definitions	4

4.	Potential Hazards	4

5.	Personal Protective Equipment	4

6.	Procedure	5

6.1	Introduction	5

6.2	Procedure and Implementation Steps	5

6.3	Schedule	6

6.4	Flowchart	7

7.	Training	7

8.	Register Traceability	8

9.	Review Criteria	8

10.	Legislation & References	8

10.1	Legislation	8

10.2	Source Documents by Task	8

# Purpose and Scope

This procedure covers laboratory environmental and cyanide analysis at the Mt. Morgan processing plant. It is the procedure that the 25 hazard analyses and 25 work instructions in register area 304 sit under.

Laboratory environmental and cyanide analysis - pH and conductivity, dissolved and suspended solids, free, WAD and total cyanide, cyanide-soluble assay, dissolved metals, NAG and acid neutralising capacity, the environmental reagent set, and environmental sample collection.

Document details:

Register area: 304 Environmental Analysis, on tabs JSEA_LAB and SWI-LAB

Hazard analyses beneath: 25 (JSEA-PRO-LAB-304-001 to -025)

Work instructions beneath: 25

Process owner: Heritage Mineral Operations, Business unit Mt. Morgan

Document owner: Process Operations Superintendent

Document approver: Process Manager

# Responsibilities

| Staff | Responsibilities |
| --- | --- |
| Laboratory Technician | - Carry out the task to the schedule and to the work instruction. - Only carry out work where competent and authorised to do so. - Record what was actually done. Work not done is recorded as not done - never invented and never back-filled. - Stop and report if any control in the JSEA is not in place. |
| Laboratory Supervisor | - Authorise the task and confirm the area is fit before it starts. - Know that the task is in progress and where the person is. - Understand that much of the plant is automated and equipment may start or stop without warning. - Act on any off-specification result reported from the task. |
| Chief Chemist / Metallurgist | - Set and maintain the schedule - what is done, how often, and what is reported. - Review the results and act on the trends. - Investigate any variance outside the agreed tolerance before a period is closed. |
| Laboratory Manager / Superintendent | - Ensure all personnel are trained and competent. - Ensure this procedure and the documents beneath it are reviewed at the stated interval. - Approve the risk ranking in the JSEAs. |

# Abbreviations and Definitions

| Term | Meaning |
| --- | --- |
| JSEA | Job safety and environmental analysis - one per task, giving the step-by-step hazards, controls and risk ranking. |
| SWI | Safe work instruction - one per task, giving the step-by-step method. |
| SWP | Safe work procedure - this document. |
| Steady state | Normal operation held for at least 15 to 20 minutes. |
| ReCYN | The resin-in-pulp cyanide and metal recovery process in Areas 041, 051, 071 and 081. |
| CN Free / WAD CN | Free cyanide by silver nitrate titration; weak acid dissociable cyanide by distillation. |

# Potential Hazards

The step-by-step hazard analysis for each task, with the risk ranking, is in the JSEA for that task. The hazards common across this area are:

Contact with sulphuric or hydrochloric acid - burn to skin or eyes

Cuts from broken glassware, and burns from hot glassware

Cross-contamination from a container or cutter not cleaned between points

Non-representative sample leading to a wrong process decision

Contact with hot solution or hot surface at the elution, stripping or regeneration circuits

Release from a pressurised sample line, hose or fitting

Hydrogen cyanide gas released at the open sample point

Inhalation of acid fume or reagent vapour at the bench

Splash of cyanide-bearing slurry or solution to skin or eyes

Contact with an agitator, sample cutter, pump or screen that starts without warning

Inhalation of or contact with solid reagent - cyanide briquettes, lime or salt

Contact with sodium hydroxide solution - burn to skin or eyes

Slip, trip or fall on wet or slurry-covered walkways around sample points

Working alone in a cyanide area where a collapse would not be seen

# Personal Protective Equipment

Standard PPE is worn for all normal operations: hard hat, safety glasses, high-visibility long-sleeved shirt and long trousers, safety boots, and gloves appropriate to the task.

The following is added where the task requires it:

Personal HCN gas monitor, calibrated and in test date

Chemical splash goggles and face shield

Nitrile rubber gloves

Nitrile PVC boots

Chemical resistant suit

Full or half gas mask with A2B2E2K2P3 cartridge, carried and available for immediate use

Acid-resistant gloves, apron and face shield

Chemical splash goggles

# Procedure

## Introduction

| Warning: | many operations on the gold processing plant are automated and equipment may start or stop without warning. It is the operator's responsibility to ensure the safety of all personnel working on the plant at all times. |
| --- | --- |

## Procedure and Implementation Steps

The documents below are the controlled method for each task. This procedure does not repeat them.

| JSEA | Work instruction | Task | Class |
| --- | --- | --- | --- |
| JSEA-PRO-LAB-304-001 | SWI-PRO-LAB-304-001 | pH Meter Calibration and Use | Safety-critical |
| JSEA-PRO-LAB-304-002 | SWI-PRO-LAB-304-002 | TDS and EC Meter Calibration and Use | Operating |
| JSEA-PRO-LAB-304-003 | SWI-PRO-LAB-304-003 | Total Dissolved Solids - Gravimetric Method | Safety-critical |
| JSEA-PRO-LAB-304-004 | SWI-PRO-LAB-304-004 | Total Suspended Solids - Gravimetric and Spectrophotometric Methods | Safety-critical |
| JSEA-PRO-LAB-304-005 | SWI-PRO-LAB-304-005 | Free Cyanide by Titration - Silver Nitrate and Rhodanine | Safety-critical |
| JSEA-PRO-LAB-304-006 | SWI-PRO-LAB-304-006 | Free Cyanide by Direct Colorimetric Reading | Safety-critical |
| JSEA-PRO-LAB-304-007 | SWI-PRO-LAB-304-007 | Free Cyanide by Microdiffusion | Safety-critical |
| JSEA-PRO-LAB-304-008 | SWI-PRO-LAB-304-008 | WAD Cyanide - Distillation and Determination | Safety-critical |
| JSEA-PRO-LAB-304-009 | SWI-PRO-LAB-304-009 | Total Cyanide - Distillation and Determination | Safety-critical |
| JSEA-PRO-LAB-304-010 | SWI-PRO-LAB-304-010 | Distillation Apparatus Leak Test, Drying and Cleaning | Safety-critical |
| JSEA-PRO-LAB-304-011 | SWI-PRO-LAB-304-011 | Cyanide Leach of Solid Samples - CN-Soluble Assay | Safety-critical |
| JSEA-PRO-LAB-304-012 | SWI-PRO-LAB-304-012 | Moisture Determination for Total Cyanide on Solids | Safety-critical |
| JSEA-PRO-LAB-304-013 | SWI-PRO-LAB-304-013 | Dissolved Copper by Porphyrine Method | Safety-critical |
| JSEA-PRO-LAB-304-014 | SWI-PRO-LAB-304-014 | Dissolved Iron by 1,10-Phenanthroline Method | Safety-critical |
| JSEA-PRO-LAB-304-015 | SWI-PRO-LAB-304-015 | Dissolved Metals Sample Preparation for AAS | Safety-critical |
| JSEA-PRO-LAB-304-016 | SWI-PRO-LAB-304-016 | NAG Test on Rock and Tailings Samples | Safety-critical |
| JSEA-PRO-LAB-304-017 | SWI-PRO-LAB-304-017 | Acid Neutralising Capacity Determination | Safety-critical |
| JSEA-PRO-LAB-304-018 | SWI-PRO-LAB-304-018 | pH(1:2) and EC(1:2) Determination on Solid Samples | Operating |
| JSEA-PRO-LAB-304-019 | SWI-PRO-LAB-304-019 | Preparation of Cyanide Analysis Reagents - Pre and Post Distillation | Safety-critical |
| JSEA-PRO-LAB-304-020 | SWI-PRO-LAB-304-020 | Preparation of Indicators - Rhodanine and Phenolphthalein | Safety-critical |
| JSEA-PRO-LAB-304-021 | SWI-PRO-LAB-304-021 | Preparation of Hydrogen Peroxide 15% Solution | Safety-critical |
| JSEA-PRO-LAB-304-022 | SWI-PRO-LAB-304-022 | Preparation of Magnesium Chloride 2.5 M Solution | Operating |
| JSEA-PRO-LAB-304-023 | SWI-PRO-LAB-304-023 | Preparation of Sulphuric Acid (1+1) and Nitric Acid (1+1) | Safety-critical |
| JSEA-PRO-LAB-304-024 | SWI-PRO-LAB-304-024 | Preparation of Sodium Hydroxide 0.1 M Standard Solution | Safety-critical |
| JSEA-PRO-LAB-304-025 | SWI-PRO-LAB-304-025 | Environmental Sample Collection - TSF, Discharge and Monitoring Bores | Safety-critical |

## Schedule

| Task | Frequency |
| --- | --- |
| 304-001 pH Meter Calibration and Use | Every shift before use. |
| 304-002 TDS and EC Meter Calibration and Use | To be set once a meter is purchased. |
| 304-003 Total Dissolved Solids - Gravimetric Method | Per the analysis schedule. |
| 304-004 Total Suspended Solids - Gravimetric and Spectrophotometric Methods | Per the analysis schedule. |
| 304-005 Free Cyanide by Titration - Silver Nitrate and Rhodanine | Every shift on every cyanide stream on the schedule. |
| 304-006 Free Cyanide by Direct Colorimetric Reading | To be set once a spectrophotometer is purchased. |
| 304-007 Free Cyanide by Microdiffusion | To be set once cells and a spectrophotometer are purchased. |
| 304-008 WAD Cyanide - Distillation and Determination | To be set once a distillation train is purchased. |
| 304-009 Total Cyanide - Distillation and Determination | To be set once a distillation train is purchased. |
| 304-010 Distillation Apparatus Leak Test, Drying and Cleaning | To be set once a distillation train is purchased. |
| 304-011 Cyanide Leach of Solid Samples - CN-Soluble Assay | Per the analysis schedule and on tail investigation. |
| 304-012 Moisture Determination for Total Cyanide on Solids | With every total cyanide determination on a solid. |
| 304-013 Dissolved Copper by Porphyrine Method | To be set once a spectrophotometer is purchased. Copper is achievable by AAS in the meantime. |
| 304-014 Dissolved Iron by 1,10-Phenanthroline Method | To be set once a spectrophotometer is purchased. Iron is achievable by AAS in the meantime. |
| 304-015 Dissolved Metals Sample Preparation for AAS | Every dissolved metals batch. |
| 304-016 NAG Test on Rock and Tailings Samples | Per the environmental sampling schedule. |
| 304-017 Acid Neutralising Capacity Determination | Per the environmental sampling schedule. |
| 304-018 pH(1:2) and EC(1:2) Determination on Solid Samples | pH is supported; EC is not, because no conductivity meter was quoted. |
| 304-019 Preparation of Cyanide Analysis Reagents - Pre and Post Distillation | As the solution register requires. |
| 304-020 Preparation of Indicators - Rhodanine and Phenolphthalein | As the solution register requires. |
| 304-021 Preparation of Hydrogen Peroxide 15% Solution | As the solution register requires. |
| 304-022 Preparation of Magnesium Chloride 2.5 M Solution | As the solution register requires. |
| 304-023 Preparation of Sulphuric Acid (1+1) and Nitric Acid (1+1) | As the solution register requires. |
| 304-024 Preparation of Sodium Hydroxide 0.1 M Standard Solution | As the solution register requires; re-standardised at the set interval. |
| 304-025 Environmental Sample Collection - TSF, Discharge and Monitoring Bores | To be set once the sample points are defined. |

## Flowchart

Not reproduced here. Each work instruction carries its own step sequence.

# Training

Every person carrying out a task in this area is trained and signed off against the work instruction for that task, and has signed on to the matching JSEA at a communication session.

Site induction, current.

Cyanide awareness and gas detection competency where the area requires it.

Working at height competency where the task requires it.

Competency in the determinations, instruments and calculations used in the task.

Refresher at the interval set by the site training matrix, and after any change to the instruction.

# Register Traceability

The three-digit suffix is shared between the two registers, so SWI-PRO-LAB-304-011 is the work instruction for JSEA-PRO-LAB-304-011.

Registers: HM-MMM-WHS-REG-JSEA-PRO-updated_10.xlsx tab JSEA_LAB, and HM-MMM-WHS-REG-XXX-R00-SWI-SWMS.xlsx tab SWI-LAB. GGT working masters are MM-4034-033-OR-03-JSEA-Register-RevF.xlsx and MM-4034-033-OR-03-SWI-Register-RevF.xlsx.

| Item | Count |
| --- | --- |
| Register lines in area 304 | 25 |
| Hazard analyses issued | 25 |
| Work instructions issued | 25 |
| Desk-based tasks with a JSEA but no work instruction | 0 |
| Safety-critical | 22 |
| Issued but NOT FOR USE | 10 |

# Review Criteria

This Procedure and the documents beneath it shall be reviewed as follows:

Every 12 months; or

Immediately after any incident, plant change, equipment change or change to the schedule.

# Legislation & References

## Legislation

Queensland Mining and Quarrying Safety and Health Act 1999

Queensland Mining and Quarrying Safety and Health Regulation 2017

## Source Documents by Task

The source documents and notes held for each task. Register lines are on tabs JSEA_LAB and SWI-LAB (Section 8).

| JSEA | Task | Source documents and notes |
| --- | --- | --- |
| JSEA-PRO-LAB-304-001 | pH Meter Calibration and Use | - KBK-MIR-LAB-ENV-SOP-067, -068 calibration and -087 reading |
| JSEA-PRO-LAB-304-002 | TDS and EC Meter Calibration and Use | - No TDS or conductivity meter in ILS quote Q0023979 |
| JSEA-PRO-LAB-304-003 | Total Dissolved Solids - Gravimetric Method | - KBK-MIR-LAB-ENV-SOP-108 Analisa TDS metode gravimetri |
| JSEA-PRO-LAB-304-004 | Total Suspended Solids - Gravimetric and Spectrophotometric Methods | - Gravimetric TSS is supported by the ovens and balances; the spectrophotometric method is not - no instrument in ILS quote Q0023979 |
| JSEA-PRO-LAB-304-005 | Free Cyanide by Titration - Silver Nitrate and Rhodanine | - ILS quote Q0023979: Hanna HI902C titrator with ISE, plus burette stands and clamps for the manual check |
| JSEA-PRO-LAB-304-006 | Free Cyanide by Direct Colorimetric Reading | - Colorimetric free cyanide needs a spectrophotometer - none in ILS quote Q0023979 |
| JSEA-PRO-LAB-304-007 | Free Cyanide by Microdiffusion | - Microdiffusion needs cells and a spectrophotometer - neither in ILS quote Q0023979 |
| JSEA-PRO-LAB-304-008 | WAD Cyanide - Distillation and Determination | - No cyanide distillation train in ILS quote Q0023979. WAD cyanide is a licence-condition analysis for a cyanide plant - resolve before commissioning |
| JSEA-PRO-LAB-304-009 | Total Cyanide - Distillation and Determination | - No cyanide distillation train in ILS quote Q0023979. Total cyanide cannot be run on site as equipped |
| JSEA-PRO-LAB-304-010 | Distillation Apparatus Leak Test, Drying and Cleaning | - No distillation apparatus purchased, so there is nothing to leak-test |
| JSEA-PRO-LAB-304-011 | Cyanide Leach of Solid Samples - CN-Soluble Assay | - KBK-MIR-LAB-ENV-SOP-082; bottle roller and titrator both in ILS quote Q0023979 |
| JSEA-PRO-LAB-304-012 | Moisture Determination for Total Cyanide on Solids | - KBK-MIR-LAB-ENV-SOP-092; depends on total cyanide capability, which is not equipped |
| JSEA-PRO-LAB-304-013 | Dissolved Copper by Porphyrine Method | - Porphyrine method needs a spectrophotometer. Copper is achievable by AAS instead - confirm the method change |
| JSEA-PRO-LAB-304-014 | Dissolved Iron by 1,10-Phenanthroline Method | - Phenanthroline method needs a spectrophotometer. Iron is achievable by AAS instead - confirm the method change |
| JSEA-PRO-LAB-304-015 | Dissolved Metals Sample Preparation for AAS | - KBK-MIR-LAB-ENV-SOP-098 Preparasi larutan untuk logam terlarut, AAS |
| JSEA-PRO-LAB-304-016 | NAG Test on Rock and Tailings Samples | - KBK-MIR-LAB-ENV-SOP-078 and -080; peroxide, pH meter and hotplates all supported by ILS quote Q0023979 |
| JSEA-PRO-LAB-304-017 | Acid Neutralising Capacity Determination | - KBK-MIR-LAB-ENV-SOP-079; the HI902C titrator suits acid-base titration |
| JSEA-PRO-LAB-304-018 | pH(1:2) and EC(1:2) Determination on Solid Samples | - pH is supported but there is no conductivity meter in ILS quote Q0023979, so EC(1:2) cannot be run |
| JSEA-PRO-LAB-304-019 | Preparation of Cyanide Analysis Reagents - Pre and Post Distillation | - KBK-MIR-LAB-ENV-SOP-076 post-distillation and -077 free cyanide reagents |
| JSEA-PRO-LAB-304-020 | Preparation of Indicators - Rhodanine and Phenolphthalein | - KBK-MIR-LAB-ENV-SOP-093 rhodanine and -094 phenolphthalein |
| JSEA-PRO-LAB-304-021 | Preparation of Hydrogen Peroxide 15% Solution | - KBK-MIR-LAB-ENV-SOP-073 Larutan hidrogen peroksida 15% |
| JSEA-PRO-LAB-304-022 | Preparation of Magnesium Chloride 2.5 M Solution | - KBK-MIR-LAB-ENV-SOP-083 Larutan magnesium klorida 2,5 M |
| JSEA-PRO-LAB-304-023 | Preparation of Sulphuric Acid (1+1) and Nitric Acid (1+1) | - KBK-MIR-LAB-ENV-SOP-084 asam sulfat (1+1) and -104 asam nitrat (1+1) |
| JSEA-PRO-LAB-304-024 | Preparation of Sodium Hydroxide 0.1 M Standard Solution | - KBK-MIR-LAB-ENV-SOP-074 Larutan standar NaOH 0.1 M untuk uji NAG |
| JSEA-PRO-LAB-304-025 | Environmental Sample Collection - TSF, Discharge and Monitoring Bores | - TSF and WTP sample points undefined - P&IDs 4034-091-J-001 and -092-J-001 not held |