## Register 204
Kode | No. dokumen | Judul | Area | Klasifikasi | JSEA ID | Rev | Tanggal terbit | Review berikutnya | Document owner | Frekuensi | Jumlah step | Halaman | Padanan Martabe | Status isi | Format Heritage | Nama file
204-001 | SWI-PRO-MET-204-001 | Met Lab Sample Receipt, Logging and Storage | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-001 | A | 11/08/2026 | 11/08/2027 | Processing | Every delivery from the plant. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-001-Met-Lab-Sample-Receipt-Logging-and-Storage-RevA.docx
204-002 | SWI-PRO-MET-204-002 | Wet Screening and Sizing Analysis | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-002 | A | 11/08/2026 | 11/08/2027 | Processing | Per the sampling schedule; daily on CIL tail and cyclone overflow. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-002-Wet-Screening-and-Sizing-Analysis-RevA.docx
204-003 | SWI-PRO-MET-204-003 | Particle Size Distribution by Laser Sizer | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-003 | A | 11/08/2026 | 11/08/2027 | Processing | To be set once the instrument is resolved. | 3 | 5 | Tidak ada padanan | NOT FOR USE (menunggu input) | Sudah | SWI-PRO-MET-204-003-Particle-Size-Distribution-by-Laser-Sizer-RevA.docx
204-004 | SWI-PRO-MET-204-004 | Slurry Density Determination by Marcy Scale | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-004 | A | 11/08/2026 | 11/08/2027 | Processing | Every slurry sample requiring a density. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-004-Slurry-Density-Determination-by-Marcy-Scale-RevA.docx
204-005 | SWI-PRO-MET-204-005 | Solids Specific Gravity by Pycnometer | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-005 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type, and quarterly on plant feed. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-005-Solids-Specific-Gravity-by-Pycnometer-RevA.docx
204-006 | SWI-PRO-MET-204-006 | Moisture Content Determination | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-006 | A | 11/08/2026 | 11/08/2027 | Processing | Every solid sample requiring a dry mass. | 5 | 6 | A&D MS-70 Moisture Analyzer Calibration - tidak dipakai (Mt. Morgan tidak punya moisture analyser) | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-006-Moisture-Content-Determination-RevA.docx
204-007 | SWI-PRO-MET-204-007 | Total Suspended Solids Determination | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-007 | A | 11/08/2026 | 11/08/2027 | Processing | Per the sampling schedule; each shift on thickener overflow. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-007-Total-Suspended-Solids-Determination-RevA.docx
204-008 | SWI-PRO-MET-204-008 | Slurry Viscosity and Rheology Test | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-008 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type, and whenever pumping or mixing behaviour changes. | 7 | 7 | Brookfield DV2TLV Viscometer dan Marsh Funnel - cara Martabe dipakai dengan alat yang sama | DRAFT FOR REVIEW (tambahan Martabe) | Sudah | SWI-PRO-MET-204-008-Slurry-Viscosity-and-Rheology-Test-RevA.docx
204-009 | SWI-PRO-MET-204-009 | Static and Dynamic Settling Test | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-009 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type, and whenever thickener performance changes. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-009-Static-and-Dynamic-Settling-Test-RevA.docx
204-010 | SWI-PRO-MET-204-010 | Flocculant Screening and Dose Optimisation Test | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-010 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type and when a flocculant change is proposed. | 9 | 10 | Settling Test Strength Variance; Effective Treatment Dosage; Flocculant Testwork on Tailing Using Sieve - Step 4-8 | DRAFT FOR REVIEW (tambahan Martabe) | Sudah | SWI-PRO-MET-204-010-Flocculant-Screening-and-Dose-Optimisation-Test-RevA.docx
204-011 | SWI-PRO-MET-204-011 | Filter Press Simulation and Cake Filtration Test | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-011 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type and whenever plant cake moisture moves. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-011-Filter-Press-Simulation-and-Cake-Filtration-Test-RevA.docx
204-012 | SWI-PRO-MET-204-012 | Bond Ball Mill Work Index Test | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-012 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type or ore blend. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-012-Bond-Ball-Mill-Work-Index-Test-RevA.docx
204-013 | SWI-PRO-MET-204-013 | Grind Establishment Test | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-013 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type, and when a change to the grind target is proposed. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-013-Grind-Establishment-Test-RevA.docx
204-014 | SWI-PRO-MET-204-014 | Carbon Particle Size Distribution and Fines Determination | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-014 | A | 11/08/2026 | 11/08/2027 | Processing | Monthly, and after every regeneration campaign. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-014-Carbon-Particle-Size-Distribution-and-Fines-Determination-RevA.docx
204-015 | SWI-PRO-MET-204-015 | Resin Particle Size Distribution and Fines Determination | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-015 | A | 11/08/2026 | 11/08/2027 | Processing | Monthly, and after any osmotic shock event or conditioning batch. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-015-Resin-Particle-Size-Distribution-and-Fines-Determination-RevA.docx
204-016 | SWI-PRO-MET-204-016 | Dry Sieve Analysis - Ro-Tap RX29 and 200 mm Sieve Set | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-016 | A | 11/08/2026 | 11/08/2027 | Processing | As required by the analysis schedule. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-016-Dry-Sieve-Analysis---Ro-Tap-RX29-and-200-mm-Sieve-Set-RevA.docx
204-017 | SWI-PRO-MET-204-017 | Sieve Cleaning, Integrity Check and Aperture Verification | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-017 | A | 11/08/2026 | 11/08/2027 | Processing | After every use for cleaning; quarterly for integrity and aperture verification. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-017-Sieve-Cleaning-Integrity-Check-and-Aperture-Verification-RevA.docx
204-018 | SWI-PRO-MET-204-018 | Vacuum Filtration of Test Products | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-018 | A | 11/08/2026 | 11/08/2027 | Processing | Every test requiring solid and solution separation. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-018-Vacuum-Filtration-of-Test-Products-RevA.docx
204-019 | SWI-PRO-MET-204-019 | Centrifuge Operation for Solution Clarification | 204 Met Lab - Physical Testwork | Operating | JSEA-PRO-MET-204-019 | A | 11/08/2026 | 11/08/2027 | Processing | As required by the analysis schedule. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-204-019-Centrifuge-Operation-for-Solution-Clarification-RevA.docx

## Draft dan open items
No. dokumen | Judul | Jenis | Isi catatan
SWI-PRO-MET-204-003 | Particle Size Distribution by Laser Sizer | Catatan | ISSUED BUT NOT FOR USE. This document is a placeholder against the register line so the line is not empty. It cannot be used until the named input arrives: a laser particle size analyser has not been purchased (no laser sizer in ILS quotation Q0023979). The method, frequency and equipment are written when the instrument is resolved.
SWI-PRO-MET-204-008 | Slurry Viscosity and Rheology Test | Draft | Draft for review: Steps 3 to 5 follow the Martabe work instructions Measure Viscosity Using Brookfield DV2TLV Viscometer (DOC-3-MET-PMC-WIN-00128-IE) and Measure Viscosity of Slurry Using Marsh Funnel Test (DOC-3-MET-PMC-WIN-00127-IE), v1.0, 25/12/2024. The Martabe method and instruments are adopted. JSEA-PRO-MET-204-008 must be updated for the added hazard before this instruction is approved.
SWI-PRO-MET-204-008 | Slurry Viscosity and Rheology Test | Open items | Open items: (1) the Marsh funnel source names the ASTM standard funnel but gives no fill volume, no sieving of coarse particles and no result in seconds per quart - set the fill volume and the reporting unit before use; (2) the Brookfield DV2T operating instruction and instrument manual are not received - confirm the spindle range for the plant slurries; (3) set the spindle and speed used for each slurry so all samples are read the same way.
SWI-PRO-MET-204-010 | Flocculant Screening and Dose Optimisation Test | Draft | Draft for review: Steps 4 to 8 are taken from the Martabe work instructions Settling Test with Variance %Strength Flocc (22/03/2025), Effective Treatment Dosage (DOC-3-MET-PMC-WIN-00122-IE) and Flocculant Testwork on Tailing Using Sieve (DOC-3-MET-PMC-WIN-00124-IE), v1.0, 25/12/2024. They are approved for inclusion. Settling cylinders are not purchased; plain 1 L graduated cylinders are approved for use until they are. JSEA-PRO-MET-204-010 must be updated for the added hazards before this instruction is approved.
SWI-PRO-MET-204-010 | Flocculant Screening and Dose Optimisation Test | Open items | Open items: (1) how the 4 strengths and 4 doses are laid out across the 4 cylinders of a set (Step 4); (2) the basis for 276 g and 12 samples (Step 5); (3) name the Mt. Morgan tailing sample point and the cyanide-bearing return point that replace the Martabe safety carbon screen distributor door and pump PU-372 (see SWI-PRO-MET-201-008); (4) flocculant mixing and ageing time are not stated - Step 2 requires the same ageing for every candidate; (5) bucket size, 10 L or 20 L; (6) the Martabe flocculant make-up SOP is not received; (7) the source reads the settling times as 60, 24 hours, 48 hours - minute 60 is assumed (Step 4); (8) confirm the record folders and forms exist at Mt. Morgan.

## Keterangan
Register seri 204 Physical Testwork (19 dokumen dalam format Heritage).
Data dibaca langsung dari Part 1 dan Part 2 tiap dokumen (judul, tanggal, owner, JSEA ID, area, frekuensi).
Klasifikasi dan padanan Martabe diambil dari docs/Matriks-Rujukan-Martabe.xlsx dan docs/Tabel-SWI-vs-Martabe.xlsx, ditimpa oleh keputusan review bila ada. Format Heritage tidak memuat kolom klasifikasi, jadi klasifikasi hanya ada di register.
Jumlah step dan halaman dihitung dari render dokumen (LibreOffice); halaman bisa sedikit berbeda di Microsoft Word.
Status isi: Final = tanpa tambahan Martabe terbuka; DRAFT FOR REVIEW = ada tambahan Martabe yang menunggu JSEA; Catatan = ada catatan yang perlu ditindaklanjuti.
Sheet "Draft dan open items" memuat paragraf draft, catatan, temuan safety-critical, dan open items di Description of work.