## Register 205
Kode | No. dokumen | Judul | Area | Klasifikasi | JSEA ID | Rev | Tanggal terbit | Review berikutnya | Document owner | Frekuensi | Jumlah step | Halaman | Padanan Martabe | Status isi | Format Heritage | Nama file
205-001 | SWI-PRO-MET-205-001 | Free Cyanide Titration - Silver Nitrate Method | 205 Met Lab - Chemical and Leach Testwork | Safety-critical | JSEA-PRO-MET-205-001 | A | 11/08/2026 | 11/08/2027 | Processing | Every shift on every cyanide-bearing stream on the schedule. | 5 | 6 | Cyanide Measurement by AgNO3 Titration - pembanding; diambil cek buret digital 0.00 dan kedaluwarsa AgNO3 | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-001-Free-Cyanide-Titration---Silver-Nitrate-Method-RevA.docx
205-002 | SWI-PRO-MET-205-002 | Caustic Soda Strength Titration | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-002 | A | 11/08/2026 | 11/08/2027 | Processing | Every made-up batch and once per shift on standing solution. | 6 | 7 | ReCYN Plant Caustic Strength Measurement dan Sodium Hydroxide Titration - Step 4 (titrasi H2SO4 alternatif) | DRAFT FOR REVIEW (tambahan Martabe) | Sudah | SWI-PRO-MET-205-002-Caustic-Soda-Strength-Titration-RevA.docx
205-003 | SWI-PRO-MET-205-003 | Sulphuric Acid Strength Titration | 205 Met Lab - Chemical and Leach Testwork | Safety-critical | JSEA-PRO-MET-205-003 | A | 11/08/2026 | 11/08/2027 | Processing | Every made-up batch and once per shift on standing solution. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-003-Sulphuric-Acid-Strength-Titration-RevA.docx
205-004 | SWI-PRO-MET-205-004 | Sodium Chloride (Chloride) Titration | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-004 | A | 11/08/2026 | 11/08/2027 | Processing | Every made-up batch and per the analysis schedule. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-004-Sodium-Chloride-Chloride-Titration-RevA.docx
205-005 | SWI-PRO-MET-205-005 | Lime Availability Test | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-005 | A | 11/08/2026 | 11/08/2027 | Processing | Every delivery and weekly on the slaked slurry. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-005-Lime-Availability-Test-RevA.docx
205-006 | SWI-PRO-MET-205-006 | Lime Addition and Lime Demand Test | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-006 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type and whenever plant lime consumption moves; neutralisation tests when the metallurgist requests them. | 8 | 8 | Dosing NaOH vs Ca(OH)2, MHR1 quicklime (udara, H2O2), MHR1 quicklime dan caustic, TSF Toe (dari 205-015) - digabung jadi Step 4-7, sampel bebas sianida | DRAFT FOR REVIEW (tambahan Martabe) | Sudah | SWI-PRO-MET-205-006-Lime-Addition-and-Lime-Demand-Test-RevA.docx
205-007 | SWI-PRO-MET-205-007 | Bottle Roll Leach Test - As-Received and Pulverised | 205 Met Lab - Chemical and Leach Testwork | Safety-critical | JSEA-PRO-MET-205-007 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type, and on any tail sample being investigated. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-007-Bottle-Roll-Leach-Test---As-Received-and-Pulverised-RevA.docx
205-008 | SWI-PRO-MET-205-008 | Extended and Diagnostic Leach Test | 205 Met Lab - Chemical and Leach Testwork | Safety-critical | JSEA-PRO-MET-205-008 | A | 11/08/2026 | 11/08/2027 | Processing | On tail investigation and on each new ore type. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-008-Extended-and-Diagnostic-Leach-Test-RevA.docx
205-009 | SWI-PRO-MET-205-009 | CIL/CIP Sequential Triple Contact Testwork | 205 Met Lab - Chemical and Leach Testwork | Safety-critical | JSEA-PRO-MET-205-009 | A | 11/08/2026 | 11/08/2027 | Processing | On each new ore type and when adsorption performance is being investigated. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-009-CILCIP-Sequential-Triple-Contact-Testwork-RevA.docx
205-010 | SWI-PRO-MET-205-010 | Carbon Adsorption Capacity and Isotherm Test | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-010 | A | 11/08/2026 | 11/08/2027 | Processing | Monthly, and on every new carbon delivery. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-010-Carbon-Adsorption-Capacity-and-Isotherm-Test-RevA.docx
205-011 | SWI-PRO-MET-205-011 | Carbon Activity and Ball-Pan Hardness Test | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-011 | A | 11/08/2026 | 11/08/2027 | Processing | Monthly, and on every new carbon delivery. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-011-Carbon-Activity-and-Ball-Pan-Hardness-Test-RevA.docx
205-012 | SWI-PRO-MET-205-012 | Resin Adsorption Capacity and Kinetics Test | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-012 | A | 11/08/2026 | 11/08/2027 | Processing | To be set once the vendor data arrives. | 7 | 7 | Resin Activity Test dan Adsorption Test Fresh Resin - Step 2-6; varian KCN tidak dipakai; CIL 7 dipetakan ke 032-TK-006 | DRAFT FOR REVIEW (tambahan Martabe) | Sudah | SWI-PRO-MET-205-012-Resin-Adsorption-Capacity-and-Kinetics-Test-RevA.docx
205-013 | SWI-PRO-MET-205-013 | Resin Elution Efficiency and Barren Resin Loading Test | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-013 | A | 11/08/2026 | 11/08/2027 | Processing | To be set once the vendor data arrives. | 11 | 11 | NaCl vendor, Preconditioning V2, Sulfamic acid, IPHK, Copper Loading Test, Grundfos DDA - Step 2-10 | DRAFT FOR REVIEW (tambahan Martabe) | Sudah | SWI-PRO-MET-205-013-Resin-Elution-Efficiency-and-Barren-Resin-Loading-Test-RevA.docx
205-014 | SWI-PRO-MET-205-014 | Resin Fouling, Osmotic Shock and Bead Integrity Assessment | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-014 | A | 11/08/2026 | 11/08/2027 | Processing | Monthly, and after any osmotic shock event. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-014-Resin-Fouling-Osmotic-Shock-and-Bead-Integrity-Assessment-RevA.docx
205-015 | SWI-PRO-MET-205-015 | Cyanide Destruction (Detox) Bench Test | 205 Met Lab - Chemical and Leach Testwork | Safety-critical | JSEA-PRO-MET-205-015 | A | 11/08/2026 | 11/08/2027 | Processing | To be set once the route is chosen. | 3 | 6 | TSF Toe to WPP Test - dipindah ke 205-006 (Mt. Morgan tidak punya sirkuit detox) | NOT FOR USE (menunggu input) | Sudah | SWI-PRO-MET-205-015-Cyanide-Destruction-Detox-Bench-Test-RevA.docx
205-016 | SWI-PRO-MET-205-016 | Precipitate and Platelet Content Determination | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-016 | A | 11/08/2026 | 11/08/2027 | Processing | Every lot and per the analysis schedule. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-016-Precipitate-and-Platelet-Content-Determination-RevA.docx
205-017 | SWI-PRO-MET-205-017 | Preparation of Standard and Working Solutions | 205 Met Lab - Chemical and Leach Testwork | Safety-critical | JSEA-PRO-MET-205-017 | A | 11/08/2026 | 11/08/2027 | Processing | As the solution register requires; standards re-standardised at the set interval. | 7 | 8 | Testwork QC Expired Reagent - Step 5-6, terbatas phenolphthalein dan silica gel | DRAFT FOR REVIEW (tambahan Martabe) | Sudah | SWI-PRO-MET-205-017-Preparation-of-Standard-and-Working-Solutions-RevA.docx
205-018 | SWI-PRO-MET-205-018 | Automatic Titrator Operation and Method Set-Up | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-018 | A | 11/08/2026 | 11/08/2027 | Processing | At set-up, and whenever a method is added or changed. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-018-Automatic-Titrator-Operation-and-Method-Set-Up-RevA.docx
205-019 | SWI-PRO-MET-205-019 | Automatic Titrator Electrode Care, Standardisation and Verification | 205 Met Lab - Chemical and Leach Testwork | Operating | JSEA-PRO-MET-205-019 | A | 11/08/2026 | 11/08/2027 | Processing | Daily standardisation; weekly verification; replacement on failure. | 5 | 6 | Tidak ada padanan | Final (isi tanpa tambahan) | Sudah | SWI-PRO-MET-205-019-Automatic-Titrator-Electrode-Care-Standardisation-and-Verification-RevA.docx

## Draft dan open items
No. dokumen | Judul | Jenis | Isi catatan
SWI-PRO-MET-205-002 | Caustic Soda Strength Titration | Draft | Draft for review: Step 4 follows the Martabe work instructions ReCYN Plant Caustic Strength Measurement (DOC-3-MET-PMC-WIN-00088-IE) and Sodium Hydroxide Titration (DOC-3-MET-PMC-WIN-00102-IE), v1.0, 25/12/2024, as an alternative titration with standardised sulphuric acid. HCl titration (Step 3) stays the main method. JSEA-PRO-MET-205-002 must be checked before this instruction is approved.
SWI-PRO-MET-205-002 | Caustic Soda Strength Titration | Open items | Open items: (1) the Martabe instruction for preparing the sulphuric acid titrant has not been received - set the make-up and standardisation of the titrant before Step 4 is used.
SWI-PRO-MET-205-006 | Lime Addition and Lime Demand Test | Draft | Draft for review: Steps 4 to 7 combine the Martabe work instructions Dosing NaOH vs Ca(OH)2 to pH 6, 7, 8 and 9, MHR1 Quick Lime Metal Removed, MHR1 Quick Lime and Caustic (V1 and V1.2) and TSF Toe to WPP Test (moved from SWI-PRO-MET-205-015) into one acid water neutralisation method. The Martabe sample names (SP09, MHR-1, TSF Toe) and the numbers in the Martabe record tables are not used. JSEA-PRO-MET-205-006 must be updated for the added hazards before this instruction is approved.
SWI-PRO-MET-205-006 | Lime Addition and Lime Demand Test | Open items | Open items: (1) name the Mt. Morgan acid water streams this test is run on, and their sample points; (2) set the air flow and the way the air is added; (3) set the hydrogen peroxide strength and the dose per litre of sample; (4) confirm the assay laboratory and analyte suite for each water; (5) the Martabe tables report solid reagent in mL/L - report in g/L or kg/m3.
SWI-PRO-MET-205-012 | Resin Adsorption Capacity and Kinetics Test | Draft | Draft for review - NOT FOR USE until approved. Steps 2 to 6 follow the Martabe work instructions Resin Activity Test (03/03/2025) and Adsorption Test Fresh Resin (09/01/2025). The KCN variant of the activity test is not used. The Martabe CIL tank 7 launder to detox is mapped to the discharge of the last CIL tank (032-TK-006) to ReCYN. JSEA-PRO-MET-205-012 must be updated for the added hazards before this instruction is approved.
SWI-PRO-MET-205-012 | Resin Adsorption Capacity and Kinetics Test | Open items | Open items: (1) acceptance targets for GG1200M and GG1200C need Goldquip resin performance data, not received; (2) loading capacity is not covered by the Martabe method - a capacity method is still needed; (3) confirm the sizing screens (1.18 and 1.4 mm in the source, 0.9 mm in this SWI) against the Goldquip resin specification; (4) the CuSO4 solution strength, and the sample the per cent solids check applies to, are not stated; (5) confirm the values highlighted in the source - 150 mL samples, sample times, filtering and the Cu and Fe assay.
SWI-PRO-MET-205-013 | Resin Elution Efficiency and Barren Resin Loading Test | Draft | Draft for review - NOT FOR USE until approved. Steps 2 to 10 follow the Martabe work instructions Testing NaCl from New Vendor (11/01/2025), Preconditioning Resin with Cu Variance V2 (07/02/2025), Testwork Pelarutan Scaling Eluant Garam Menggunakan Sulfamic Acid (07/10/2025), IPHK Mixing Larutan Campuran NaCN-NaCl (undated), Copper Loading Test (DOC-3-MET-MEL-WIN-00113-IE, 25/01/2025) and Dosing Pump Grundfos DDA Calibration (DOC-3-MET-PMC-WIN-00120-IE, 25/12/2024). Preconditioning follows V2. Every cyanide addition is made at pH 10.5 or above. JSEA-PRO-MET-205-013 must be updated for the added hazards before this instruction is approved.
SWI-PRO-MET-205-013 | Resin Elution Efficiency and Barren Resin Loading Test | Open items | Open items: (1) acceptance targets need Goldquip resin elution data, not received; (2) the NaCN to CuSO4 ratio differs between the NaCl vendor method and V2 (about 0.107 against 0.15 g/mL), and the CuSO4 solution strength and hydrate are not stated; (3) confirm the eluant strength of 29.4 g NaCN in 600 mL (about 49 g/L); (4) confirm which NaCl sources the four resin charges represent; (5) confirm the plant NaCl and NaCN solution strengths for the mixing test, and what IPHK stands for; (6) the source adds the KCN solution to the zinc sulphate solution, which is slightly acidic - confirm the order with HSE; adding the zinc sulphate to the alkaline KCN keeps the cyanide alkaline; (7) confirm the Mt. Morgan cyanide-bearing route for the hi-cyanide eluate - the Martabe tailing sump pump is a source name; (8) confirm the dosing pump hose connections against the pump manual; (9) confirm the Mt. Morgan worksheets for the elution, copper loading and pump calibration records - the Martabe G: drive files and forms are source names.
SWI-PRO-MET-205-015 | Cyanide Destruction (Detox) Bench Test | Catatan | ISSUED BUT NOT FOR USE. Mt. Morgan has no detox circuit - the ReCYN circuit follows CIL. The back-up detox route decision (OR-07) is open and no cyanide destruction route has been chosen, so this bench test cannot be defined. The Martabe TSF Toe to WPP Test is a water neutralisation test and has been moved to SWI-PRO-MET-205-006.
SWI-PRO-MET-205-017 | Preparation of Standard and Working Solutions | Draft | Draft for review: Steps 5 and 6 follow the Martabe work instruction Testwork QC Expired Reagent (28/03/2025). Re-qualification is limited to phenolphthalein indicator and silica gel, never standards, primary reagents or cyanide, and needs the approval of the Metallurgy Superintendent. JSEA-PRO-MET-205-017 must be updated for the added hazards before this instruction is approved.
SWI-PRO-MET-205-017 | Preparation of Standard and Working Solutions | Open items | Open items: (1) Metallurgy Superintendent approval of the re-qualification policy; (2) the silica gel drying temperature is not stated - take it from the safety data sheet (typically about 110 to 120 deg C); (3) the Martabe Reagent Lifetime Management System (DOC-IV-MET-CHH-SOP-00039) has not been received.

## Keterangan
Register seri 205 Chemical Testwork (19 dokumen dalam format Heritage).
Data dibaca langsung dari Part 1 dan Part 2 tiap dokumen (judul, tanggal, owner, JSEA ID, area, frekuensi).
Klasifikasi dan padanan Martabe diambil dari docs/Matriks-Rujukan-Martabe.xlsx dan docs/Tabel-SWI-vs-Martabe.xlsx, ditimpa oleh keputusan review bila ada. Format Heritage tidak memuat kolom klasifikasi, jadi klasifikasi hanya ada di register.
Jumlah step dan halaman dihitung dari render dokumen (LibreOffice); halaman bisa sedikit berbeda di Microsoft Word.
Status isi: Final = tanpa tambahan Martabe terbuka; DRAFT FOR REVIEW = ada tambahan Martabe yang menunggu JSEA; Catatan = ada catatan yang perlu ditindaklanjuti.
Sheet "Draft dan open items" memuat paragraf draft, catatan, temuan safety-critical, dan open items di Description of work.