Safe Work Procedure

Laboratory Wet Chemistry and Digestion

HM-PRC-VXX-PRO213

| DOCUMENT HISTORY AND STATUS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Document: | Laboratory Wet Chemistry and Digestion Safe Work Procedure |  |  | Version No.: | A |  |  |
| Document No: | HM-PRC-VXX-PRO213 |  |  | Owner: | Process Operations Superintendent |  |  |
| Issue Date: | 11/08/2026 |  |  | Date Reviewed: | - |  |  |
| History: | Process owner: Heritage Mineral Operations, Business unit Mt. Morgan. Document approver: Process Manager. |  |  |  |  |  |  |
| Date Reviewed: | Version No.: | Written by: |  | Reviewed by: |  | Authorised by: |  |
| 11/08/2026 | A | GGT (cost code 4034-033) |  |  |  |  |  |
| Revision Description: |  |  |  |  |  |  |  |
| Changes: |  |  |  |  |  |  |  |
| Rev A - first issue. Converted from the GGT Standard Work Procedure layout to the Heritage Safe Work Procedure format; content unchanged. |  |  |  |  |  |  |  |
| Action: | Name: |  | Position: |  |  |  | Date: |
| Prepared by | GGT (cost code 4034-033) |  | Document preparer |  |  |  | 11/08/2026 |
| Reviewed by |  |  | Process Operations Superintendent |  |  |  |  |
| Reviewed by |  |  |  |  |  |  |  |
| Authorised by |  |  | Process Manager |  |  |  |  |

This document is controlled electronically as part of Heritage Minerals Pty Limited’s Health & Safety Management System.  Please refer to Heritage Minerals Controlled Document Register for the current version.

Table of Contents

1.	Purpose and Scope	3

2.	Responsibilities	3

3.	Abbreviations and Definitions	4

4.	Potential Hazards	4

5.	Personal Protective Equipment	4

6.	Procedure	5

6.1	Introduction	5

6.2	Procedure and Implementation Steps	5

6.3	Schedule	6

6.4	Flowchart	8

7.	Training	8

8.	Document Traceability	8

9.	Review Criteria	8

10.	Legislation & References	9

10.1	Legislation	9

10.2	Source Documents by Task	9

# Purpose and Scope

This procedure covers laboratory wet chemistry and digestion at the Mt. Morgan processing plant.

Laboratory wet chemistry and digestion - assay weighing, sample patterns, ashing, aqua regia and three-acid digestion of solids, carbon, resin and bullion, solution preparation including DIBK extraction, reagent and standard preparation, chemical handling, fume cupboard and scrubber operation, glassware, spill and power failure response, and waste.

Document details:

Hazard analyses beneath: 33 (JSEA-PRO-LAB-302-001 to -033)

Work instructions beneath: 33

Process owner: Heritage Mineral Operations, Business unit Mt. Morgan

Document owner: Process Operations Superintendent

Document approver: Process Manager

# Responsibilities

| Staff | Responsibilities |
| --- | --- |
| Laboratory Technician | - Carry out the task to the schedule and to the work instruction. - Only carry out work where competent and authorised to do so. - Record what was actually done. Work not done is recorded as not done - never invented and never back-filled. - Stop and report if any control in the JSEA is not in place. |
| Laboratory Supervisor | - Authorise the task and confirm the area is fit before it starts. - Know that the task is in progress and where the person is. - Understand that much of the plant is automated and equipment may start or stop without warning. - Act on any off-specification result reported from the task. |
| Chief Chemist / Metallurgist | - Set and maintain the schedule - what is done, how often, and what is reported. - Review the results and act on the trends. - Investigate any variance outside the agreed tolerance before a period is closed. |
| Laboratory Manager / Superintendent | - Ensure all personnel are trained and competent. - Ensure this procedure and the documents beneath it are reviewed at the stated interval. - Approve the risk ranking in the JSEAs. |

# Abbreviations and Definitions

| Term | Meaning |
| --- | --- |
| JSEA | Job safety and environmental analysis - one per task, giving the step-by-step hazards, controls and risk ranking. |
| SWI | Safe work instruction - one per task, giving the step-by-step method. |
| SWP | Safe work procedure - this document. |
| Steady state | Normal operation held for at least 15 to 20 minutes. |
| ReCYN | The resin-in-pulp cyanide and metal recovery process in Areas 041, 051, 071 and 081. |
| CN Free / WAD CN | Free cyanide by silver nitrate titration; weak acid dissociable cyanide by distillation. |

# Potential Hazards

The step-by-step hazard analysis for each task, with the risk ranking, is in the JSEA for that task. The hazards common across this area are:

Cross-contamination from a container or cutter not cleaned between points

Inhalation of or contact with solid reagent - cyanide briquettes, lime or salt

Non-representative sample leading to a wrong process decision

Cuts from broken glassware, and burns from hot glassware

Exposure to a gold security incident, and to suspicion in one

Contact with hot solution or hot surface at the elution, stripping or regeneration circuits

Inhalation of acid fume or reagent vapour at the bench

Contact with sulphuric or hydrochloric acid - burn to skin or eyes

Splash of cyanide-bearing slurry or solution to skin or eyes

Hydrogen cyanide gas released at the open sample point

Release from a pressurised sample line, hose or fitting

Contact with sodium hydroxide solution - burn to skin or eyes

Manual handling injury from carrying sample buckets, containers and composite drums

Contact with live electrical equipment at a sample pump, cutter or local control station

# Personal Protective Equipment

Standard PPE is worn for all normal operations: hard hat, safety glasses, high-visibility long-sleeved shirt and long trousers, safety boots, and gloves appropriate to the task.

The following is added where the task requires it:

Personal HCN gas monitor, calibrated and in test date

Chemical splash goggles and face shield

Nitrile rubber gloves

Nitrile PVC boots

Chemical resistant suit

Full or half gas mask with A2B2E2K2P3 cartridge, carried and available for immediate use

Acid-resistant gloves, apron and face shield

Chemical splash goggles

# Procedure

## Introduction

| Warning: | many operations on the gold processing plant are automated and equipment may start or stop without warning. It is the operator's responsibility to ensure the safety of all personnel working on the plant at all times. |
| --- | --- |

## Procedure and Implementation Steps

The documents below are the controlled method for each task. This procedure does not repeat them.

| JSEA | Work instruction | Task | Class |
| --- | --- | --- | --- |
| JSEA-PRO-LAB-302-001 | SWI-PRO-LAB-302-001 | Sample Weighing for Assay | Operating |
| JSEA-PRO-LAB-302-002 | SWI-PRO-LAB-302-002 | Sample Pattern Set-Up - Plant Solid Samples | Operating |
| JSEA-PRO-LAB-302-003 | SWI-PRO-LAB-302-003 | Sample Pattern Set-Up - Carbon Samples | Operating |
| JSEA-PRO-LAB-302-004 | SWI-PRO-LAB-302-004 | Sample Pattern Set-Up - Resin Samples | Operating |
| JSEA-PRO-LAB-302-005 | SWI-PRO-LAB-302-005 | Sample Pattern Set-Up - Dore and Bullion Samples | Safety-critical |
| JSEA-PRO-LAB-302-006 | SWI-PRO-LAB-302-006 | Ashing of Carbon and Resin Samples - Muffle Furnace | Safety-critical |
| JSEA-PRO-LAB-302-007 | SWI-PRO-LAB-302-007 | Aqua Regia Digest - Plant Solid Samples | Safety-critical |
| JSEA-PRO-LAB-302-008 | SWI-PRO-LAB-302-008 | Aqua Regia Digest - Dore and Bullion Samples | Safety-critical |
| JSEA-PRO-LAB-302-009 | SWI-PRO-LAB-302-009 | Aqua Regia Digest - Ashed Carbon (Direct Method) | Safety-critical |
| JSEA-PRO-LAB-302-010 | SWI-PRO-LAB-302-010 | Aqua Regia Digest - Ashed Resin | Safety-critical |
| JSEA-PRO-LAB-302-011 | SWI-PRO-LAB-302-011 | Three-Acid Digest - Base Metals, Solid Samples | Safety-critical |
| JSEA-PRO-LAB-302-012 | SWI-PRO-LAB-302-012 | Three-Acid Digest - Carbon and Resin, Base Metals | Safety-critical |
| JSEA-PRO-LAB-302-013 | SWI-PRO-LAB-302-013 | Solution Sample Preparation for Gold Analysis - DIBK Extraction | Safety-critical |
| JSEA-PRO-LAB-302-014 | SWI-PRO-LAB-302-014 | Solution Sample Preparation for Base Metal Analysis | Safety-critical |
| JSEA-PRO-LAB-302-015 | SWI-PRO-LAB-302-015 | Plant Solution Sample Preparation and Dilution | Safety-critical |
| JSEA-PRO-LAB-302-016 | SWI-PRO-LAB-302-016 | Preparation of Aqua Regia and Mixed Acid Reagents | Safety-critical |
| JSEA-PRO-LAB-302-017 | SWI-PRO-LAB-302-017 | Preparation of DIBK 1% Aliquot Solution | Safety-critical |
| JSEA-PRO-LAB-302-018 | SWI-PRO-LAB-302-018 | Preparation of Sodium Chloride 25% Solution | Operating |
| JSEA-PRO-LAB-302-019 | SWI-PRO-LAB-302-019 | Preparation of Cyanide Matrix Solution | Safety-critical |
| JSEA-PRO-LAB-302-020 | SWI-PRO-LAB-302-020 | Preparation of Gold, Silver and Copper Standard Solutions | Safety-critical |
| JSEA-PRO-LAB-302-021 | SWI-PRO-LAB-302-021 | Chemical Issue, Decanting and Acid Transfer from IBC or Drum | Safety-critical |
| JSEA-PRO-LAB-302-022 | SWI-PRO-LAB-302-022 | Hot Block and Hot Plate Digest Operation | Safety-critical |
| JSEA-PRO-LAB-302-023 | SWI-PRO-LAB-302-023 | Fume Cupboard Operation, Scrubber pH Check and Cleaning - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-024 | SWI-PRO-LAB-302-024 | Water Distillation and Deionised Water Plant Operation | Safety-critical |
| JSEA-PRO-LAB-302-025 | SWI-PRO-LAB-302-025 | Glassware Washing and Drying - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-026 | SWI-PRO-LAB-302-026 | Analytical Balance and Dispenser Verification - Wet Lab | Operating |
| JSEA-PRO-LAB-302-027 | SWI-PRO-LAB-302-027 | Acid Spill Response and Neutralisation - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-028 | SWI-PRO-LAB-302-028 | Sudden Power Failure Evacuation - Wet Lab | Safety-critical |
| JSEA-PRO-LAB-302-029 | SWI-PRO-LAB-302-029 | Laboratory Sludge Transfer to IBC and Disposal | Safety-critical |
| JSEA-PRO-LAB-302-030 | SWI-PRO-LAB-302-030 | Neutralisation of Empty Reagent Containers | Safety-critical |
| JSEA-PRO-LAB-302-031 | SWI-PRO-LAB-302-031 | Hydrofluoric Acid Handling, Storage and Calcium Gluconate First Aid | Safety-critical |
| JSEA-PRO-LAB-302-032 | SWI-PRO-LAB-302-032 | Perchloric Acid Digest and Fume Cupboard Washdown Routine | Safety-critical |
| JSEA-PRO-LAB-302-033 | SWI-PRO-LAB-302-033 | Fume Scrubber pH Control System Operation and Dosing | Safety-critical |

## Schedule

| Task | Frequency |
| --- | --- |
| 302-001 Sample Weighing for Assay | Every sample in every batch. |
| 302-002 Sample Pattern Set-Up - Plant Solid Samples | Every solid sample batch. |
| 302-003 Sample Pattern Set-Up - Carbon Samples | Every carbon batch. |
| 302-004 Sample Pattern Set-Up - Resin Samples | Every resin batch. |
| 302-005 Sample Pattern Set-Up - Dore and Bullion Samples | Every bullion batch. |
| 302-006 Ashing of Carbon and Resin Samples - Muffle Furnace | Every carbon and resin batch. |
| 302-007 Aqua Regia Digest - Plant Solid Samples | Every plant solid batch. |
| 302-008 Aqua Regia Digest - Dore and Bullion Samples | Every bullion batch. |
| 302-009 Aqua Regia Digest - Ashed Carbon (Direct Method) | Every carbon batch. |
| 302-010 Aqua Regia Digest - Ashed Resin | Every resin batch. |
| 302-011 Three-Acid Digest - Base Metals, Solid Samples | Every base metal batch on solids. |
| 302-012 Three-Acid Digest - Carbon and Resin, Base Metals | Every base metal batch on carbon or resin. |
| 302-013 Solution Sample Preparation for Gold Analysis - DIBK Extraction | Every gold solution batch. |
| 302-014 Solution Sample Preparation for Base Metal Analysis | Every base metal solution batch. |
| 302-015 Plant Solution Sample Preparation and Dilution | Every plant solution batch. |
| 302-016 Preparation of Aqua Regia and Mixed Acid Reagents | As the solution register requires. |
| 302-017 Preparation of DIBK 1% Aliquot Solution | As the solution register requires. |
| 302-018 Preparation of Sodium Chloride 25% Solution | As the solution register requires. |
| 302-019 Preparation of Cyanide Matrix Solution | To be set once the method is received. |
| 302-020 Preparation of Gold, Silver and Copper Standard Solutions | As the solution register requires. |
| 302-021 Chemical Issue, Decanting and Acid Transfer from IBC or Drum | Every issue and every decant. |
| 302-022 Hot Block and Hot Plate Digest Operation | Every digest run. |
| 302-023 Fume Cupboard Operation, Scrubber pH Check and Cleaning - Wet Lab | Every use; scrubber checked at the start of every shift. |
| 302-024 Water Distillation and Deionised Water Plant Operation | Daily check; service at the manufacturer's interval. |
| 302-025 Glassware Washing and Drying - Wet Lab | After every use. |
| 302-026 Analytical Balance and Dispenser Verification - Wet Lab | Daily verification before use; external calibration at the set interval. |
| 302-027 Acid Spill Response and Neutralisation - Wet Lab | Every acid spill; drill at the set interval. |
| 302-028 Sudden Power Failure Evacuation - Wet Lab | On any power failure; drill at the set interval. |
| 302-029 Laboratory Sludge Transfer to IBC and Disposal | At the set interval and whenever the sump reaches its trigger level. |
| 302-030 Neutralisation of Empty Reagent Containers | Every empty container. |
| 302-031 Hydrofluoric Acid Handling, Storage and Calcium Gluconate First Aid | Every HF handling task; training and drill at the set interval. |
| 302-032 Perchloric Acid Digest and Fume Cupboard Washdown Routine | Every perchloric digest. |
| 302-033 Fume Scrubber pH Control System Operation and Dosing | Checked every shift; serviced at the set interval. |

## Flowchart

Not reproduced here. Each work instruction carries its own step sequence.

# Training

Every person carrying out a task in this area is trained and signed off against the work instruction for that task, and has signed on to the matching JSEA at a communication session.

Site induction, current.

Cyanide awareness and gas detection competency where the area requires it.

Working at height competency where the task requires it.

Competency in the determinations, instruments and calculations used in the task.

Refresher at the interval set by the site training matrix, and after any change to the instruction.

# Document Traceability

The three-digit suffix is shared between the hazard analysis and the work instruction, so SWI-PRO-LAB-302-011 is the work instruction for JSEA-PRO-LAB-302-011.

| Item | Count |
| --- | --- |
| Tasks in area 302 | 33 |
| Hazard analyses issued | 33 |
| Work instructions issued | 33 |
| Desk-based tasks with a JSEA but no work instruction | 0 |
| Safety-critical | 27 |
| Issued but NOT FOR USE | 1 |

# Review Criteria

This Procedure and the documents beneath it shall be reviewed as follows:

Every 12 months; or

Immediately after any incident, plant change, equipment change or change to the schedule.

# Legislation & References

## Legislation

Queensland Mining and Quarrying Safety and Health Act 1999

Queensland Mining and Quarrying Safety and Health Regulation 2017

## Source Documents by Task

The source documents and notes held for each task.

| JSEA | Task | Source documents and notes |
| --- | --- | --- |
| JSEA-PRO-LAB-302-001 | Sample Weighing for Assay | - KBK-MIR-LAB-WET-SOP-017 Penimbangan Sampel |
| JSEA-PRO-LAB-302-002 | Sample Pattern Set-Up - Plant Solid Samples | - KBK-MIR-LAB-WET-SOP-018 and -020 grade control sample patterns |
| JSEA-PRO-LAB-302-003 | Sample Pattern Set-Up - Carbon Samples | - KBK-MIR-LAB-WET-SOP-022 Pengaturan Pola Sampel Karbon |
| JSEA-PRO-LAB-302-004 | Sample Pattern Set-Up - Resin Samples | - KBK has a carbon pattern only - resin pattern set-up is specific to ReCYN |
| JSEA-PRO-LAB-302-005 | Sample Pattern Set-Up - Dore and Bullion Samples | - KBK-MIR-LAB-WET-SOP-023 Pengaturan Pola Sampel Dore Aquaregia |
| JSEA-PRO-LAB-302-006 | Ashing of Carbon and Resin Samples - Muffle Furnace | - KBK-MIR-LAB-WET-SOP-024 Pengabuan Sampel Karbon dan Resin |
| JSEA-PRO-LAB-302-007 | Aqua Regia Digest - Plant Solid Samples | - KBK-MIR-LAB-WET-SOP-032 Digest aquaregia sampel solid mill plant |
| JSEA-PRO-LAB-302-008 | Aqua Regia Digest - Dore and Bullion Samples | - KBK-MIR-LAB-WET-SOP-033 Digest aquaregia untuk sampel dore |
| JSEA-PRO-LAB-302-009 | Aqua Regia Digest - Ashed Carbon (Direct Method) | - KBK-MIR-LAB-WET-SOP-038 Digest karbon diabukan (direct) |
| JSEA-PRO-LAB-302-010 | Aqua Regia Digest - Ashed Resin | - KBK-MIR-LAB-WET-SOP-040 Digest Au resin yang telah diabukan |
| JSEA-PRO-LAB-302-011 | Three-Acid Digest - Base Metals, Solid Samples | - KBK-MIR-LAB-WET-SOP-035 and ENV-SOP-103 three-acid digest, solids |
| JSEA-PRO-LAB-302-012 | Three-Acid Digest - Carbon and Resin, Base Metals | - KBK-MIR-LAB-WET-SOP-041 carbon and WET-SOP-042 resin, base metals |
| JSEA-PRO-LAB-302-013 | Solution Sample Preparation for Gold Analysis - DIBK Extraction | - KBK-MIR-LAB-WET-SOP-036 Penyiapan sampel larutan untuk analisis Au |
| JSEA-PRO-LAB-302-014 | Solution Sample Preparation for Base Metal Analysis | - KBK-MIR-LAB-WET-SOP-037 Penyiapan sampel larutan untuk basemetal |
| JSEA-PRO-LAB-302-015 | Plant Solution Sample Preparation and Dilution | - KBK-MIR-LAB-WET-SOP-052 Penyiapan Sampel Solution |
| JSEA-PRO-LAB-302-016 | Preparation of Aqua Regia and Mixed Acid Reagents | - KBK-MIR-LAB-WET-SOP-026 Larutan BARE and WET-SOP-027 mixture acids |
| JSEA-PRO-LAB-302-017 | Preparation of DIBK 1% Aliquot Solution | - KBK-MIR-LAB-WET-SOP-028 Larutan DIBK 1% aliquot |
| JSEA-PRO-LAB-302-018 | Preparation of Sodium Chloride 25% Solution | - KBK-MIR-LAB-WET-SOP-029 Larutan sodium klorida 25% |
| JSEA-PRO-LAB-302-019 | Preparation of Cyanide Matrix Solution | - KBK-MIR-LAB-WET-SOP-046 is listed in the KBK register but the file was not received |
| JSEA-PRO-LAB-302-020 | Preparation of Gold, Silver and Copper Standard Solutions | - KBK-MIR-LAB-WET-SOP-043, -044 and -045 Au, Ag and Cu standards |
| JSEA-PRO-LAB-302-021 | Chemical Issue, Decanting and Acid Transfer from IBC or Drum | - KBK-MIR-LAB-WET-SOP-025, -047, -055 and -107 chemical and acid transfer |
| JSEA-PRO-LAB-302-022 | Hot Block and Hot Plate Digest Operation | - ILS quote Q0023979: 2 x cast iron hotplates 590 x 315 mm |
| JSEA-PRO-LAB-302-023 | Fume Cupboard Operation, Scrubber pH Check and Cleaning - Wet Lab | - KBK-MIR-LAB-WET-SOP-054 scrubber pH, -059 fume cupboard, ENV-SOP-061 |
| JSEA-PRO-LAB-302-024 | Water Distillation and Deionised Water Plant Operation | - ILS quote Q0023979: RO/DI Ibis Plus 12 L/h. This is reverse osmosis and deionisation, not distillation - KBK ENV-SOP-056 will need rewriting, not adapting |
| JSEA-PRO-LAB-302-025 | Glassware Washing and Drying - Wet Lab | - KBK-MIR-LAB-WET-SOP-049 drying and ENV-SOP-060 washing |
| JSEA-PRO-LAB-302-026 | Analytical Balance and Dispenser Verification - Wet Lab | - KBK WET-SOP-013 to -016; ILS quote Q0023979: GR-200 210 g x 0.1 mg, GX-2002A and a Class F1 18-piece weight set |
| JSEA-PRO-LAB-302-027 | Acid Spill Response and Neutralisation - Wet Lab | - KBK-MIR-LAB-WET-SOP-051 Penanganan Tumpahan Asam |
| JSEA-PRO-LAB-302-028 | Sudden Power Failure Evacuation - Wet Lab | - KBK-MIR-LAB-WET-SOP-050 Evakuasi pemadaman listrik |
| JSEA-PRO-LAB-302-029 | Laboratory Sludge Transfer to IBC and Disposal | - KBK-MIR-LAB-ENV-SOP-058 Pemindahan lumpur ke IBC tank |
| JSEA-PRO-LAB-302-030 | Neutralisation of Empty Reagent Containers | - KBK-MIR-LAB-ENV-SOP-106 Netralisasi wadah bekas reagen |
| JSEA-PRO-LAB-302-031 | Hydrofluoric Acid Handling, Storage and Calcium Gluconate First Aid | - ILS quote Q0023979 specifies the fume cupboard for perchloric and HF use, but no calcium gluconate gel appears in the safety line items. Safety gap |
| JSEA-PRO-LAB-302-032 | Perchloric Acid Digest and Fume Cupboard Washdown Routine | - Perchloric washdown is mandatory to prevent explosive perchlorate build-up in ductwork. No procedure held and no washdown provision itemised in ILS quote Q0023979 |
| JSEA-PRO-LAB-302-033 | Fume Scrubber pH Control System Operation and Dosing | - ILS quote Q0023979: Model A crossflow scrubber, exhaust fan and pH control system; KBK WET-SOP-054 pH scrubber check |