Safe Work Procedure

Bullion Assay and Custody

SWP-217

| DOCUMENT HISTORY AND STATUS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Document: | Bullion Assay and Custody Safe Work Procedure |  |  | Version No.: | A |  |  |
| Document No: | SWP-217 |  |  | Owner: | Process Operations Superintendent |  |  |
| Issue Date: | 11/08/2026 |  |  | Date Reviewed: | - |  |  |
| History: | Process owner: Heritage Mineral Operations, Business unit Mt. Morgan. Document approver: Process Manager. |  |  |  |  |  |  |
| Date Reviewed: | Version No.: | Written by: |  | Reviewed by: |  | Authorised by: |  |
| 11/08/2026 | A | GGT (cost code 4034-033) |  |  |  |  |  |
| Revision Description: |  |  |  |  |  |  |  |
| Changes: |  |  |  |  |  |  |  |
| Rev A - first issue. Converted from the GGT Standard Work Procedure layout to the Heritage Safe Work Procedure format; content unchanged. |  |  |  |  |  |  |  |
| Action: | Name: |  | Position: |  |  |  | Date: |
| Prepared by | GGT (cost code 4034-033) |  | Document preparer |  |  |  | 11/08/2026 |
| Reviewed by |  |  | Process Operations Superintendent |  |  |  |  |
| Reviewed by |  |  |  |  |  |  |  |
| Authorised by |  |  | Process Manager |  |  |  |  |

This document is controlled electronically as part of Heritage Minerals Pty Limited’s Health & Safety Management System.  Please refer to Heritage Minerals Controlled Document Register for the current version.

Table of Contents

1.	Purpose and Scope	3

2.	Responsibilities	3

3.	Abbreviations and Definitions	3

4.	Potential Hazards	4

5.	Personal Protective Equipment	4

6.	Procedure	4

6.1	Introduction	4

6.2	Procedure and Implementation Steps	5

6.3	Schedule	5

6.4	Flowchart	5

7.	Training	5

8.	Document Traceability	6

9.	Review Criteria	6

10.	Legislation & References	6

10.1	Legislation	6

10.2	Source Documents by Task	6

# Purpose and Scope

This procedure covers bullion assay and custody at the Mt. Morgan processing plant.

Bullion assay and custody - bullion sample preparation by rolling, cupellation, micro balance operation, prill weighing and assay calculation, sample custody and reconciliation, and hot work in the bullion area.

Document details:

Hazard analyses beneath: 6 (JSEA-PRO-LAB-306-001 to -006)

Work instructions beneath: 5

Process owner: Heritage Mineral Operations, Business unit Mt. Morgan

Document owner: Process Operations Superintendent

Document approver: Process Manager

# Responsibilities

| Staff | Responsibilities |
| --- | --- |
| Laboratory Technician | - Carry out the task to the schedule and to the work instruction. - Only carry out work where competent and authorised to do so. - Record what was actually done. Work not done is recorded as not done - never invented and never back-filled. - Stop and report if any control in the JSEA is not in place. |
| Laboratory Supervisor | - Authorise the task and confirm the area is fit before it starts. - Know that the task is in progress and where the person is. - Understand that much of the plant is automated and equipment may start or stop without warning. - Act on any off-specification result reported from the task. |
| Chief Chemist / Metallurgist | - Set and maintain the schedule - what is done, how often, and what is reported. - Review the results and act on the trends. - Investigate any variance outside the agreed tolerance before a period is closed. |
| Laboratory Manager / Superintendent | - Ensure all personnel are trained and competent. - Ensure this procedure and the documents beneath it are reviewed at the stated interval. - Approve the risk ranking in the JSEAs. |

# Abbreviations and Definitions

| Term | Meaning |
| --- | --- |
| JSEA | Job safety and environmental analysis - one per task, giving the step-by-step hazards, controls and risk ranking. |
| SWI | Safe work instruction - one per task, giving the step-by-step method. |
| SWP | Safe work procedure - this document. |
| Steady state | Normal operation held for at least 15 to 20 minutes. |
| ReCYN | The resin-in-pulp cyanide and metal recovery process in Areas 041, 051, 071 and 081. |
| CN Free / WAD CN | Free cyanide by silver nitrate titration; weak acid dissociable cyanide by distillation. |

# Potential Hazards

The step-by-step hazard analysis for each task, with the risk ranking, is in the JSEA for that task. The hazards common across this area are:

Exposure to a gold security incident, and to suspicion in one

Contact with an agitator, sample cutter, pump or screen that starts without warning

Manual handling injury from carrying sample buckets, containers and composite drums

Cross-contamination from a container or cutter not cleaned between points

Non-representative sample leading to a wrong process decision

Contact with hot solution or hot surface at the elution, stripping or regeneration circuits

Inhalation of acid fume or reagent vapour at the bench

Cuts from broken glassware, and burns from hot glassware

An accounting or reconciliation error that hides a real metal loss

# Personal Protective Equipment

Standard PPE is worn for all normal operations: hard hat, safety glasses, high-visibility long-sleeved shirt and long trousers, safety boots, and gloves appropriate to the task.

The following is added where the task requires it:

Personal HCN gas monitor, calibrated and in test date

Chemical splash goggles and face shield

Nitrile rubber gloves

Nitrile PVC boots

Chemical resistant suit

Full or half gas mask with A2B2E2K2P3 cartridge, carried and available for immediate use

Acid-resistant gloves, apron and face shield

Chemical splash goggles

# Procedure

## Introduction

| Warning: | many operations on the gold processing plant are automated and equipment may start or stop without warning. It is the operator's responsibility to ensure the safety of all personnel working on the plant at all times. |
| --- | --- |

## Procedure and Implementation Steps

The documents below are the controlled method for each task. This procedure does not repeat them.

| JSEA | Work instruction | Task | Class |
| --- | --- | --- | --- |
| JSEA-PRO-LAB-306-001 | SWI-PRO-LAB-306-001 | Bullion Sample Preparation by Rolling - Bullion Roller | Safety-critical |
| JSEA-PRO-LAB-306-002 | SWI-PRO-LAB-306-002 | Cupellation of Bullion Samples - Muffle Furnace SF-3-SD | Safety-critical |
| JSEA-PRO-LAB-306-003 | SWI-PRO-LAB-306-003 | Micro Balance Operation and Verification - BM-22, 5.1 g x 0.001 mg | Safety-critical |
| JSEA-PRO-LAB-306-004 | - | Prill Weighing, Assay Calculation and Reporting | Safety-critical |
| JSEA-PRO-LAB-306-005 | SWI-PRO-LAB-306-005 | Bullion Sample Custody, Safe Storage and Reconciliation - Safe NV1 | Safety-critical |
| JSEA-PRO-LAB-306-006 | SWI-PRO-LAB-306-006 | Hot Work in the Bullion Assay Area - Furnace, Tongs, Blocks and PPE | Safety-critical |

## Schedule

| Task | Frequency |
| --- | --- |
| 306-001 Bullion Sample Preparation by Rolling - Bullion Roller | Every bullion sample. |
| 306-002 Cupellation of Bullion Samples - Muffle Furnace SF-3-SD | Every bullion batch. |
| 306-003 Micro Balance Operation and Verification - BM-22, 5.1 g x 0.001 mg | Every session; verification before use. |
| 306-004 Prill Weighing, Assay Calculation and Reporting | Every bullion sample. |
| 306-005 Bullion Sample Custody, Safe Storage and Reconciliation - Safe NV1 | Every bullion sample, continuously. |
| 306-006 Hot Work in the Bullion Assay Area - Furnace, Tongs, Blocks and PPE | Every furnace operation. |

## Flowchart

Not reproduced here. Each work instruction carries its own step sequence.

# Training

Every person carrying out a task in this area is trained and signed off against the work instruction for that task, and has signed on to the matching JSEA at a communication session.

Site induction, current.

Cyanide awareness and gas detection competency where the area requires it.

Working at height competency where the task requires it.

Competency in the determinations, instruments and calculations used in the task.

Refresher at the interval set by the site training matrix, and after any change to the instruction.

# Document Traceability

The three-digit suffix is shared between the hazard analysis and the work instruction, so SWI-PRO-LAB-306-011 is the work instruction for JSEA-PRO-LAB-306-011.

| Item | Count |
| --- | --- |
| Tasks in area 306 | 6 |
| Hazard analyses issued | 6 |
| Work instructions issued | 5 |
| Desk-based tasks with a JSEA but no work instruction | 1 |
| Safety-critical | 6 |
| Issued but NOT FOR USE | 0 |

# Review Criteria

This Procedure and the documents beneath it shall be reviewed as follows:

Every 12 months; or

Immediately after any incident, plant change, equipment change or change to the schedule.

# Legislation & References

## Legislation

Queensland Mining and Quarrying Safety and Health Act 1999

Queensland Mining and Quarrying Safety and Health Regulation 2017

## Source Documents by Task

The source documents and notes held for each task.

| JSEA | Task | Source documents and notes |
| --- | --- | --- |
| JSEA-PRO-LAB-306-001 | Bullion Sample Preparation by Rolling - Bullion Roller | - KBK-MIR-LAB-WET-SOP-057 Rolling Sampel Bullion; ILS quote Q0023979: bullion roller |
| JSEA-PRO-LAB-306-002 | Cupellation of Bullion Samples - Muffle Furnace SF-3-SD | - ILS quote Q0023979: muffle furnace SF-3-SD 3 L, bullion blocks 10-place, tongs and forceps. No cupellation procedure held |
| JSEA-PRO-LAB-306-003 | Micro Balance Operation and Verification - BM-22, 5.1 g x 0.001 mg | - KBK balance verification SOPs are the pattern; ILS quote Q0023979: micro balance BM-22, 5.1 g x 0.001 mg |
| JSEA-PRO-LAB-306-004 | Prill Weighing, Assay Calculation and Reporting | - No prill weighing or bullion assay calculation method held |
| JSEA-PRO-LAB-306-005 | Bullion Sample Custody, Safe Storage and Reconciliation - Safe NV1 | - ILS quote Q0023979: Safe NV1 single shelf. No custody or reconciliation procedure held ¦ [11 Aug 2026] KBK MET SOP-0044 Pengiriman Bullion covers bullion custody, packing, documentation and handover. The safe storage and reconciliation half still has to be added. |
| JSEA-PRO-LAB-306-006 | Hot Work in the Bullion Assay Area - Furnace, Tongs, Blocks and PPE | - No hot work procedure held for the bullion assay area |